Documentation

for

Historian Data Sync

Author:  ORmatiC GmbH

Published:  05.08.2026

Last revision  05.08.2026

Version  2.1

# Contents

This table is updated when the document opens (otherwise Ctrl+A, F9).

Version 2.1 · August 2026

# What this tool is for

Two Historian servers record the same plant. They are meant to hold the same data, but they do not always: a collector stops, a network link drops, a server is restarted for maintenance. When that happens one server has readings the other never received.

This tool finds those differences and copies the missing readings from the server that has them to the server that does not.

What it does not do. It never invents data, and it never creates measurement points. It only copies readings that genuinely exist on one server into the other. If neither server recorded something, nothing can bring it back.

The tool writes into a production Historian. Everything it writes is recorded, and every repair can be undone — see 5.6. Nothing is written until you confirm it.

# Terms used in this manual

| Term | Meaning |
| --- | --- |
| Measurement point | One measured value in the plant — a temperature, a pressure, a flow. Historian calls these tags. |
| Reading | One recorded value of a measurement point, with the time it was recorded. Historian calls these samples. |
| Main server | The Historian you enter in the first field. Usually the primary plant server. |
| Mirror server | The second Historian, holding a redundant copy. |
| Completeness | How much of everything recorded for a point this server holds, as a percentage — measured against the other server. See chapter 6. |
| Time range | The period you are looking at, set with From and To. Everything on screen refers to this period only. |
| Restore | Copying readings that one server is missing from the server that has them. |
| Repair history | The record of every restore this tool has performed, and the way to undo one. |
| Automatic repair | An unattended restore that runs on a schedule without anyone watching. |

# Prerequisites

On your PC

•   Windows 10 or Windows 11

•   Microsoft .NET Framework 4.8 — already installed on all office machines

•   No administrator rights, and no installation, are required

Access to the plant

•   Network access to both Historian servers, on the ClientAccess port (normally 13000)

•   A Historian user account that may read from both servers, and **write to the server you

intend to repair**

You do not need the Proficy Historian client installed. The one file the tool needs from it is shipped alongside the program.

# Installation and first start

1. Unpack the delivered ZIP file into any folder you can write to — for example

C:\Tools\HistorianSyncTool. Do not put it in C:\Program Files: the tool keeps its repair record next to itself, and that folder is read-only for normal users.

2. Start HistorianSyncTool.exe.

3. Enter the two server addresses (see 5.1) and click

Connect.

After the first successful connection the addresses are remembered, and the tool connects to them by itself the next time it starts.

The folder contains

| File | Purpose |
| --- | --- |
| HistorianSyncTool.exe | The program |
| HistorianSyncTool.exe.config | Settings, including the optional login (see 8) |
| Proficy.Historian.ClientAccess.API.dll | The GE component used to talk to Historian |
| logs\ | Created on first use — see 8 |

# The screen, step by step

The window has three columns: settings on the left, the main area in the middle, and What's missing on the right.

The tool showing all measurement points. This example runs in demonstration mode — the amber banner appears whenever the tool is not connected to a real Historian.

## Connecting to the two servers

Enter each server in the Main server and Mirror server fields. All of these work:

| You can type | Example |
| --- | --- |
| A computer name | TESTSV1 |
| A name with a port | TESTSV1:13000 |
| An IP address | 192.168.50.186 |
| An IP address with a port | 192.168.50.186:13000 |

Click Connect. Under each field the tool reports Connected, or the reason it could not connect. Only addresses that actually connected are remembered for next time — a mistyped address is never offered back to you.

If the server asks for a login. Most Historian servers reject an anonymous connection and answer "the server has rejected the client credentials". That is not a problem with the address — the server was reached, it just would not let you in. Click Login…, enter the Historian user name and password, and connect again. The same login is used for both servers.

The login dialog: 1 user name · 2 password · 3 tick if the mirror needs its own account · 4 remember it on this PC · 5 save and connect.

If the two servers have different accounts. A redundant pair is often administered separately, and the mirror may sit in another domain. Tick The mirror uses a different login and a second user name and password appear for the mirror alone.

With the box ticked, the mirror server gets its own login (1).

Tick Remember on this PC to avoid retyping it. The password is then stored encrypted for your Windows account only: it cannot be read by another user or on another computer, and it is never part of the delivered program folder.

Leave both fields empty to connect as your Windows account instead — which is the right choice when the tool runs on the Historian machine itself.

If the login is refused, the tool offers this dialog to you automatically.

## Choosing the time range

From and To decide the period the tool examines. Everything else on screen refers to that period and nothing outside it.

The buttons underneath jump to common periods: 1h, 6h, 24h, 3d, 7d, 30d, 90d, 1y.

Changing the dates does not start a check by itself — you decide when to look, by clicking Check for missing data. (Typing a date fires a change for every field you edit, which would otherwise start a new check on every keystroke.)

The length of the range changes what can be seen. A short range shows small gaps precisely; a long range covers more but cannot show a gap shorter than one segment of its own timeline. The line above the list always states how long one segment currently is.

## All measurement points

Click Check for missing data. The tool examines every measurement point that both servers have and lists them, worst first.

Each row shows the point's name, one bar per server, and, on the right, roughly how many readings differ between the two servers.

| What you see | What it means |
| --- | --- |
| Green bar | This server has the readings |
| Red section | This server is missing readings that the other server has — these can be restored |
| Grey section | Neither server recorded anything here — nothing can be restored |
| "not set up on this server" | The point does not exist on that server at all. The tool copies readings; it does not create measurement points. |
| "could not be read" | The server did not answer for this point. This is not the same as "holds nothing" — see 7 |

The line above the list summarises the run: how many points were checked, how many need attention, and how long one segment of the bars represents.

The number on this screen is a fast estimate and always a lower bound — it is marked with ~. Open a point for the exact figure. The estimate never decides what gets written.

Use the Search box to narrow the list to points whose name contains what you type.

## One measurement point

Click a row to open that point. You now see, for this point and this time range:

•   a timeline with both servers on one shared time axis, so the differences line up visually

•   a chart of the measured values, main server above, mirror below

•   the two tables of readings, one per server

Colours match the list: green means the server has the data, red means the other server has it and this one does not, grey means neither has it.

Enlarge opens the chart in a larger window with its own time axis. ‹ All measurement points returns to the list.

The right-hand panel now shows the exact number of readings that would be copied in each direction, calculated from the readings themselves rather than estimated.

## Restoring missing readings

1. Click Restore missing data…

2. The tool compares both servers and shows, per measurement point, exactly how many readings it

would copy and over what period. Nothing has been written yet.

3. Untick anything you do not want to touch.

4. Click Start.

5. A progress window shows the point being worked on. Cancel stops at the next safe point;

you are then asked whether to keep what has already been copied or undo it immediately.

6. A report lists what was written per point, and can be exported as CSV or TXT.

What the tool will not do

•   It never copies into a point a server does not have.

•   It never copies the last couple of minutes: near "now" a collector may simply not have written

yet, and that is not missing data.

•   It reports a point as failed if the readings did not actually arrive. It does not report

success it has not verified.

## Repair history and undo

Repair history / undo… lists every restore this tool has performed: when, in which direction, how many readings, and whether it has since been undone.

To undo one:

1. Select the run.

2. Tick Enable undo — the red button stays disabled until you do.

3. Click it and confirm.

Undo deletes exactly the readings that run wrote, matched by their individual timestamps. Readings that were already on the server are never touched. If an undo is interrupted, the run stays in the list so you can safely repeat it.

The undo record is written into the logs folder next to the program. If the tool cannot write there, it tells you so and the restore cannot be undone later — this is why the program folder must be writable.

## Automatic repair

Click Automatic repair in the status bar to configure an unattended restore.

| Setting | Meaning |
| --- | --- |
| Interval | How often it runs |
| Period | How far back each run looks, counting back from the moment it runs |
| Direction | Main → mirror, mirror → main, or both |
| Measurement points | All matching a filter, or an explicit list you tick |
| Run on startup | Also run once shortly after the program starts |

Automatic repairs write to the plant without asking each time. Because of that:

•   the first time a startup run would happen, you must confirm it once, explicitly

•   a run is skipped while you are doing something in the window

•   every run is recorded in logs\schedule-YYYY-MM.log

•   every run can still be undone from the repair history

## The Advanced view

The Advanced switch in the title bar adds technical detail; it never removes anything. It shows the activity log, per-direction copy buttons, the measurement-point filter, server statistics, batch counters and the gap rule used per point.

Switching it off returns to the simple view. Nothing is lost — the same work is possible either way.

# Two ideas worth understanding

These two come up in every conversation about the numbers on screen.

## What "complete" means here

A percentage is only meaningful against a yardstick. This tool can only ever make one server match the other, so the yardstick is the other server:

Completeness = of everything recorded for this point, in this period, by either server, how much does this server hold?

So 98.8 % means the server is missing about 1.2 % of everything that was recorded — and, since the other server has it, that missing part can be restored. If neither server recorded something, it counts against neither: that is a plant outage, not a synchronisation problem, and it is drawn grey.

This is also why the bars are painted in proportion: the picture and the percentage are the same quantity, so a bar cannot say one thing while the number says another.

## Why it is not always 100 %, even after a repair

Three honest reasons:

1. The gap exists on both servers. Nothing to copy. Drawn grey.

2. The point only exists on one server. The tool copies readings; creating measurement points

is a Historian configuration task.

3. The two servers record independently. Redundant collectors sample the same signal on their

own clocks, so the same value is often stored a few seconds apart on each. Those are not missing readings, and copying them would mix two recordings together permanently rather than repair anything. The tool detects this and fills only genuine outages.

Point 3 is the reason two servers can each show slightly different figures and both be perfectly healthy.

# If something goes wrong

| What you see | What it means | What to do |
| --- | --- | --- |
| Could not connect | Wrong address or port, or the server is unreachable | Check the address; try host:13000. Confirm from your PC that the port is reachable |
| The user name cannot be empty | The server rejects anonymous access | Enter a login in HistorianSyncTool.exe.config — see 8 |
| Could not load this server's readings | The read failed. This is not "the server holds nothing" | Retry. The tool deliberately leaves that server out of the result rather than reporting it as empty |
| not set up on this server | The point does not exist there | Create the point in Historian first, if it belongs there |
| A point shows 0 % | That server recorded nothing for it in this period | This is a real, restorable difference and is listed first |
| … could NOT be saved to the repair history | The program folder is not writable | Move the folder somewhere you can write. Readings were written but that run cannot be undone |
| Nothing to restore, but the bars are not full | The missing part is grey (missing on both) or the servers record independently | See chapter 6 |

# Appendix

## Files the tool creates

| Path | Contents |
| --- | --- |
| logs\schedule-YYYY-MM.log | One line per automatic run |
| logs\backfill-journal\*.json | The record of exactly which readings each restore wrote — this is what makes undo possible. Do not delete. |

Personal settings — server addresses, language, time range, schedule — are stored per Windows user, not in the program folder, and are carried over automatically when you update to a newer version.

## Optional login

If the servers reject an empty user name, open HistorianSyncTool.exe.config in a text editor and fill in:

<add key="HistorianUsername" value="your-user" />

<add key="HistorianPassword" value="your-password" />

Leave both empty to use your Windows session, which works when the tool runs on the Historian machine itself.

## Other settings in the same file

| Key | Default | Meaning |
| --- | --- | --- |
| LiveEdgeGraceSeconds | 120 | How much of the most recent period is left alone, because collectors may still be writing there |
| BatchSizeMinutes | 10 | How much data is written per step |
| MinimumGapSeconds | 120 | Silence shorter than this is never treated as a gap |
| GapThresholdMultiplier | 2.0 | How much longer than its normal rhythm a point must be silent before it counts as a gap |

## Demonstration mode

Starting the program with --demo runs it against a generated pair of servers. It contacts no Historian at all and can change nothing. An amber banner makes this unmistakable. Use it to try the tool out, or to show it, without a plant connection.

## Version

Historian Data Sync 2.1 · manual revision August 2026.